| Section | Item | Audit Point / Evidence | Risk (FS/Q/HS/Reg/Reputation) | Status | Priority | Action Owner | Corrective Action / Notes | Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Risk Assessment | Bird species present | Identify (pigeons, sparrows, starlings) – behavior notes | FS/Reg |  |  |  |  |  |
| Risk Assessment | Activity zones mapped | High-risk areas (loading docks, rafters, lights) plotted | Trend blindness (FS) |  |  |  |  |  |
| Legal Compliance | Protected species check | Verify no protected species before intervention | Reg |  |  |  |  |  |
| Structural Entry Points | Doors | Self-closing, not propped open; door discipline posted | FS/Q |  |  |  |  |  |
| Structural Entry Points | Dock shelters & seals | Intact, no gaps daylight visible | FS/Q |  |  |  |  |  |
| Structural Entry Points | Wall vents / louvers | Mesh (≤20 mm) secure, corrosion-free | FS/Q |  |  |  |  |  |
| Structural Entry Points | Roof openings / skylights | Intact glazing; no gaps | FS/Q |  |  |  |  |  |
| Structural Entry Points | Roller shutter gaps | Brush seals intact at sides & threshold | FS/Q |  |  |  |  |  |
| Internal Structures | Overhead beams & ledges | Evaluate need for sloping / anti-roost profiles | FS/Q |  |  |  |  |  |
| Internal Structures | Cable trays / conduits | No accumulations of droppings / nesting | HS/FS |  |  |  |  |  |
| Deterrent Systems | Netting (if installed) | Tension correct; no holes; fixings stainless | FS/Q |  |  |  |  |  |
| Deterrent Systems | Spikes / slopes | Securely fixed; correct density | FS/Q |  |  |  |  |  |
| Deterrent Systems | Shock track / wire | Energizer functioning; continuity tested | FS/Q |  |  |  |  |  |
| Deterrent Systems | Acoustic / visual deterrents | Positioned appropriately; no habituation signs | Limited effectiveness risk |  |  |  |  |  |
| Sanitation | Dropping accumulation | None on product zones; removal schedule defined | FS/HS |  |  |  |  |  |
| Sanitation | Waste handling | Food waste sealed; no spillage attracting birds | FS/Q |  |  |  |  |  |
| Sanitation | Exterior grounds | Standing water / grain spillage absent | Attraction reduction |  |  |  |  |  |
| Food / Product Safety | Open product exposure | No bird access to open product or packaging | FS/Reg |  |  |  |  |  |
| Food / Product Safety | Cross-contamination controls | Exclusion of birds from QA sampling / staging areas | FS/Q |  |  |  |  |  |
| Monitoring & Evidence | Bird activity log | Entries: date, count, location, behavior | Trend analysis |  |  |  |  |  |
| Monitoring & Evidence | Dropping mapping | Heat map updated monthly if activity persists | Targeting improvements |  |  |  |  |  |
| Monitoring & Evidence | Photographic records | Before/after corrective actions archived | Verification |  |  |  |  |  |
| Health & Safety | PPE for droppings removal | Respiratory, gloves, coveralls available & used | HS/Reg |  |  |  |  |  |
| Health & Safety | Disinfection procedure | Approved disinfectant, dilution, contact time documented | HS/FS |  |  |  |  |  |
| Removal / Control | Non-lethal methods priority | Exclusion & deterrence prioritized over lethal | Reg/Reputation |  |  |  |  |  |
| Removal / Control | Professional trapping (if used) | Licensed personnel; humane checklist followed | Reg/Reputation |  |  |  |  |  |
| Post-Removal | Nest removal | Old nests fully removed; entry sealed | Re-infestation risk |  |  |  |  |  |
| Post-Removal | Surface sanitation | Clean–disinfect–rinse documented | FS/HS |  |  |  |  |  |
| Documentation | Site bird control plan | Objectives, zones, KPIs, review date | Governance |  |  |  |  |  |
| Documentation | Contractor records | Service reports, method statements on file | Audit readiness |  |  |  |  |  |
| Documentation | CAPA tracking | Each recurrence triggers root cause analysis | Continuous improvement |  |  |  |  |  |
| Training & Awareness | Staff reporting protocol | Posters / induction includes bird reporting steps | Early detection |  |  |  |  |  |
| Training & Awareness | Housekeeping training | Emphasis on eliminating attractants | Sustained control |  |  |  |  |  |
| KPI & Review | Activity reduction metric | % reduction target over baseline (e.g. 3 months) | Program efficacy |  |  |  |  |  |
| KPI & Review | Deterrent integrity audit | Quarterly formal review logged | Prevent lapse |  |  |  |  |  |
| Summary | Open high-priority issues | List items with closure timelines | Escalate risk |  |  |  |  |  |